Date last modified/updated: Click here to enter a date.            Internal audit: Click here to enter a date.

For Task 1: This part of the Navigator Playbook is completed when you have:

- Identified the external and internal issues that affect your organization’s ability to improve its energy performance and achieve the intended outcomes of the EnMS.

- Recorded this information.

Add this information to the Risks and Opportunities Register (below) by completing columns one through three.

For Task 7 outputs: This part of the Navigator Playbook is completed when you have:

  - Identified the impacts, likelihood of occurrence, and risk level arising from the issues you already recorded

  - For each of the identified risks and opportunities, plan and implement actions to address them using the processes of the EnMS.

Add this information to the Risks and Opportunities Register (below) by completing columns four through eight.

Who last modified/updated: Click here to enter text.               Management review: Click here to enter a date.

This document is an example of how to complete Playbook Task 1. All blue text should be replaced with your organization’s information, assessments, and/or decisions.

Risks and Opportunity Register

| Task 1 |  |  | Outputs for Task 7 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Internal or external (I or E) | Risk or opportunity (R or O) | Issue | Impact on EnMS (1-3) | Likelihood (1-3) | Risk Level (Low, Medium, High) | Action to address | Effectiveness Evaluation |
| I | R | Reduced operating budget. | 3 | 2 | High | Identify and pursue alternative low- or no-cost opportunities. Improve staffing awareness of such opportunities. |  |
| I | R | Reduced capital budget. | 3 | 2 | High | Propose investments with high return (ROI). Look for rebates or incentives that may offset some of the cost. |  |
| I | R | Lack of team buy-in | 3 | 2 | Med | Reinforce the benefits of energy management. |  |
| I | R | Reduced thermal conditions for the IT equipment (proxy for IT reliability) | 3 | 2 | High | Utilizing the Rack Cooling Index (RCI) metric helps ensure that the thermal conditions remain acceptable. |  |
| I | R | Increased water usage for reducing mechanical cooling | 3 | 2 | Med | Utilizing the Water Usage Effectiveness (WUE) metric helps ensure acceptable water usage. |  |
| I | R | Increased carbon release with the new electric power provider | 3 | 2 | Med | Utilizing the Carbon Usage Effectiveness (CUE) metric helps ensure acceptable carbon release. |  |
| E | R | Weather and climate concerns. | 2 | 2 | Med | Ensure EnMS can adapt to weather, drought, and a changing climate. |  |
| E | R | Electric grid disturbances. | 2 | 2 | Med | Ensure EnMS can adapt to electric grid disturbances, such as long-term and momentary interruptions and under- and over-voltages. |  |
| E | R | State and local requirements (mandates). | 2 | 2 | Med | Mandates, such as limits on using scarce resources like water, may increase cooling energy. The EnMS needs to be flexible and adaptable. |  |
| E | O | Local utility rate and incentive programs. | 3 | 2 | No Risk | Since most data centers are all electric, ensure the EnMS can quickly respond to beneficial electric rates and utility incentives. |  |

This column to be completed in Task 7

Top Management Approval

| ☒ | Date approved: | 1/15/23 |
| --- | --- | --- |
| ☒ | Who approved: | General Manager |

Comments

Click here to enter text.