Date last modified/updated: Click here to enter a date.            Internal audit: Click here to enter a date.

This part of the Navigator Playbook is completed when you have:

- Developed and documented a methodology and criteria for how your organization will identify, prioritize, and update energy performance improvement opportunities.

- Applied the methodology and criteria you developed to identify, prioritize, and update energy performance improvement opportunities.

- Updated the list of prioritized improvement opportunities at specific intervals and when major changes in facilities, equipment, systems or energy-using processes take place.

Who last modified/updated: Click here to enter text.               Management review: Click here to enter a date.

This document is an example of how to complete Playbook Task 10. All blue text should be replaced with your organization’s information, assessments, and/or decisions.

- Develop and document a methodology and criteria for how your organization will identify, prioritize, and update energy performance improvement opportunities.

☒ We have developed a prioritization method that is both systematic and continual, and have detailed below:

We use the Performance Improvement Opportunity Tracker for this Task. We prioritize energy improvement opportunities by using two scoring criteria (energy savings and return on investment), assessing each opportunity on a 1-5 scoring scale (1 being the lowest and 5 the highest), and calculating the average score for each improvement opportunity.

The following have been considered in our criteria selection process:

☒ The energy objectives and targets that have been established

☒ The estimated energy savings associated with Improvement Opportunities

☒ Organizational constraints

☒ Applicable capital justification or other criteria required for project approval by the organization

- Apply the methodology and criteria you developed to identify, prioritize, and update energy performance improvement opportunities.

☒ We have used a 50001 Ready Improvement Opportunities Register (or other document) to identify, prioritize, and update energy performance improvement opportunities.

- Update the list of prioritized improvement opportunities at specific intervals and when major changes in facilities, equipment, systems or energy-using processes take place.

☒ We update the 50001 Ready Improvement Opportunities Register (or other document) to identify, prioritize, and update energy performance improvement opportunities when major changes in facilities, equipment, systems or energy-using processes take place.

# Checklist of Other Methods to Identify Energy Opportunities

| Purpose: Provide a listing of methods (other than assessments) for identifying energy opportunities, with a checklist feature for recording the methods used by the organization |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| METHOD | CONTACT | EXPECTED OUTCOMES FROM APPLYING THE METHOD | WAS THIS METHOD USED? (y/n) | WHEN WAS IT USED? (date) | NEXT PROPOSED USAGE (date) |
| Employee Suggestions | Contact employees through the suggestion system, survey form or annual performance reviews. | Improvements in process energy efficiency; energy waste reduction opportunities; and, proposed operating efficiency improvements | Y | 2016-Present | Yearly |
| Utility Account Representative | Contact utility to locate the assigned representative. | Information on available utility rates and incentives; new technologies promoted by the utility; and fuel switching opportunities | Y | 2016- Present | Ongoing |
| Process and Energy Equipment Service Technicians | Technician contact information is available from contracted service provider or equipment vendor service department. | Operating and maintenance recommendations from service provider | Y | 2016-Present | Ongoing |
| Equipment Vendors Technical Support | Contact the equipment manufacturer to access their technical support. | Recommendations on most efficient operating conditions and maintenance practices to maximize operating efficiency | Y | 2016- Present | Ongoing |
| Trade association and/or operating standards for the industrial sector | Trade association or U.S. Department of Commerce Industrial Statistics | EnPI, general plant operating conditions | N | Click here to enter text. | Click here to enter text. |
| Equipment Standards | Equipment vendor trade association, user group records | Efficient equipment operating conditions and maintenance practices | Y | 2016- Present | Ongoing |
| Value Stream Mapping | Lean training seminars, corporate lean manufacturing specialists. | Add energy to value stream mapping and identify approaches to reduce energy waste and/or improve operating efficiency. | Y | 2016-Present | Ongoing |
| Six Sigma | Six sigma websites and blogs, Six sigma training courses | Project comparison and selection. | N | Click here to enter text. | Click here to enter text. |
| Industry Recourse | Data Center Master List of Energy Efficiency Actions, Center of Expertise, Lawrence Berkeley National Laboratory http://datacenters.lbl.gov/resources/data-center-master-list-energy | Improved energy efficiency | Y | Ongoing | Ongoing |

| PREPARED BY: Energy Team Leader | DATE: 7/15/2023 |
| --- | --- |
|  | UPDATED: 8/22/2023 |

Top Management Approval

| ☒ | Date approved: | 8/22/23 |
| --- | --- | --- |
| ☒ | Who approved: | General Manager |

Comments

Click here to enter text.