## Sheet1
ID | Performance Improvement Opportunity Name | Performance Improvement Opportunity Description | Related to a Significant Energy Use (SEU)? Which One? | Part of Energy Target (Enter Name) - Optional | Responsible Person | Date Identified | Estimated Annual Savings | [7 empty] | Estimated Non-Energy Benefit | Criteria 1 for Prioritizing (enter below) | Criteria 2 for Prioritizing (enter below) | Criteria 3 for Prioritizing (enter below) | Criteria 4 for Prioritizing (enter below) | Opportunity Score | Estimated Installation Cost | Prioritization Level | Implementation Status | Date Implementation Complete | Actual Annual Savings | [7 empty] | Actual Non-Energy Benefit | Actual Implementation Cost
[7 empty] | Total Electricity (kWh) | Natural Gas (therms) | Distillate/Light Fuel Oil (gallons) | Residual/Heavy Fuel Oil (gallons) | Coal (tons) | Other | Other | Other | Carbon Reduction [tonnes CO2]
[16 empty] | (1-10) | (1-10) | (1-10) | (1-10) | [5 empty] | Total Electricity (kWh) | Natural Gas (therms) | Distillate/Light Fuel Oil (gallons) | Residual/Heavy Fuel Oil (gallons) | Coal (tons) | Other | Other | Other
1 | Upgrade IT equipment hardware/software | Refresh older computer servers with new ENERGY STAR energy-efficient ones. | IT Equipment | Reduce IT equipment electrical consumption by 25% from the 2024 baseline by the end of 2028 | Mr. Smith | 2024-08-31 | 1200000 | [7 empty] | 600 | 4 | 8 | 2 | 5 | 19 | $2.0M | High | Funded
2 | Upgrade HVAC system hardware/software | Replace aging HVAC hardware/software and ensure specified data center air temperatures to improve the IT equipment reliability and chiller efficiency. | HVAC System | Reduce HVAC system electrical consumption by 20% from the 2024 baseline by the end of 2028 | Mr. Blair | 2024-08-31 | 600000 | [7 empty] | 300 | 2 | 3 | 6 | 4 | 15 | $TBD | Medium | In Progress
3 | Upgrade electrical system hardware/software | Replace aging Uninterruptible Power Supply (UPS) hardware with state-of-the-art equipment. | Electrical System | Reduce electrical system losses by 10% from the 2024 baseline by the end of 2028 | Mr. Crown | 2024-08-31 | 200000 | [7 empty] | 100 | 4 | 2 | 5 | 4 | 15 | $TBD | Medium | Under Consideration
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
OT.10.01.00 | [19 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0